Periodic Machine Shop Safety Inspection

# Work Unit ____________________________

| Shop Location (Room # and Building) | Department |
| --- | --- |
| Shop Safety Representative (SR) Name (please print) | Safety Representative's Signature |
| Shop Supervisor's Name (please print) | Shop Supervisor's Signature |
| Inspector's Name (please print) | Inspector's Signature |
| Date of Inspection |  |

ADMINISTRATIVE

1. Are training records maintained to indicate which employees are trained and qualified to use each power tool, piece of powered equipment, or machine? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Establish a training file. Prohibit personnel from using power tools and equipment that they have not been qualified on. Ensure all employees have completed the Safety Training Self-Assessment at http://www.ted.uci.edu/. Completion Date:__________________________________________________

2. Is an operator’s manual, Job Safety Analysis, or other written safe operating procedures available for each power tool, piece of equipment, and machine? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Obtain operator’s manuals from the manufacturer or write safe operating procedures for each power tool, piece of equipment, and machine. A template to assist in writing safety procedures is available at: http://www.ehs.uci.edu/programs/sop_library/ISEMsopTEMPLATE.doc. Contact EH&S at 824-6200 for assistance. Completion Date:__________________________________________________

3. Is the UC Irvine Emergency Procedures flipchart posted? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Post emergency procedures flipchart in the shop in a visible location preferably by the telephone if available. Obtain flipcharts from EH&S, 824-6200. Completion Date:__________________________________________________

4. Are building evacuation routes clearly posted, and are all exits marked with exit signs? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S to install evacuation signs near exits, stairwells, and elevators. Completion Date:__________________________________________________

HOUSEKEEPING

5. Are work areas (including equipment and machinery) kept clean and orderly, so as to prevent trip and fire hazards? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Include housekeeping as part of regular shop activities (e.g. the job is not finished until all tools and materials are put away, the work area swept and waste is disposed of.) Completion Date:__________________________________________________

6. Have employees been advised that they are not to consume food or drinks in shop areas unless there is a designated clean area? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit consuming food or beverages in shop areas; post signs if necessary. Completion Date:__________________________________________________

7. Are floors and work surfaces dry and/or made slip-resistant? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Keep surfaces dry or install slip-resistant material on surfaces that cannot be kept dry. Contact Facilities Management if necessary to repair flooring. Completion Date:__________________________________________________

8. Are there procedures for immediate clean-up of all spilled materials? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Establish and enforce procedures for immediate clean up of all spilled materials. Completion Date:__________________________________________________

9. Are tippable shelves, file cabinets, and furniture over 42 inches tall adequately secured to prevent tipping or falling during an earthquake? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Secure all furnishings and equipment more than 42 " tall. Contact Facilities Management at 824-5444 to arrange for bracing tippable items. Completion Date:__________________________________________________

10. Do all work areas have adequate ventilation, particularly for hazardous operations (e.g., welding, soldering, spray coating, using solvents)? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S 824-6200 to have ventilation evaluated if there is a concern. Provide additional exhaust ventilation for operations that create dust, fumes, mists or vapors. Completion Date:__________________________________________________

11. Do all work areas have adequate illumination? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S 824-6200 to have the lighting evaluated if there is a concern. Contact Facilities Management 824-5444 to repair broken lighting. Completion Date:__________________________________________________

12. Is there a procedure for removing dangerous (damaged, broken, unguarded) tools or equipment from service? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Establish a procedure such as using "out of service" tags to identify and prevent the use of dangerous items. Completion Date:__________________________________________________

13. Are all ladders maintained in safe operating condition and properly stored? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that ladders are inspected prior to each use and damaged ladders are removed from service immediately. Completion Date:__________________________________________________

FIRE/EMERGENCY SAFETY

14. Are fire alarm pull boxes clearly identified and unobstructed? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that all fire alarm pull boxes are clearly labeled. Clear any obstructions in front of fire alarm pull boxes. Completion Date:__________________________________________________

15. Are fire hose stations and portable extinguishers clearly identified and unobstructed? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that all fire hoses and extinguishers are clearly identifiable. Clear any obstructions in front of fire hoses and extinguishers. Completion Date: __________________________________________________

16. Are portable fire extinguishers tagged with State Fire Marshal's annual inspections punch-dated within last 12 months? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact Facilities Management 824-5444 if they have not been inspected within the last 12 months or if the gauge indicates less than fully charged. Completion Date: __________________________________________________

17. Are fire escapes, exit doors, stairwells, and corridors kept clear and unobstructed? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Remove any stored equipment and materials from exit doors, stairwells and corridors. Prohibit storage in these areas. Completion Date: __________________________________________________

18. Are the emergency eyewashes for your shop tested (flushed) monthly, with the tests documented? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact Facilities Management 824-5444 to arrange for testing. Completion Date: __________________________________________________

19. Are all eyewash and emergency shower stations free of obstructions that would prevent quick access by someone temporarily blinded? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Remove all obstructions from emergency eyewashes and showers. Completion Date: __________________________________________________

20. Are flammable materials stored in approved safety containers or safety cabinets? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that flammable materials are stored in approved safety containers or cabinets. Prohibit storage of flammable materials outside safety containers or cabinets. Completion Date: __________________________________________________

21. Are flammable gas cylinders and oxygen cylinders separated by a fire-rated wall or at least 20 feet? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Separate flammable gases from oxygen by a fire wall or a distance greater than 20 feet. Temporary storage of welding carts with oxygen and acetylene is permitted. Completion Date: __________________________________________________

22. Are covered metal containers used for oily and paint-soaked waste? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that covered metal containers are provided and used for the disposal of oily and paint soaked rags. Completion Date: __________________________________________________

23. Are combustible materials kept at least 35 feet away from welding operations, or is fireproof covering provided? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Move combustible material at least 35 feet from welding operations or place fireproof covering over them. Visit http://www.ehs.uci.edu/programs/fire/hotworkprog.html or contact EH&S 824-6200 for welding information. Completion Date: __________________________________________________

ELECTRICAL SAFETY

24. Are electrical panels accessible and are circuit breakers clearly labeled? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that there is a minimum of 36 inches of clearance in front of all electrical panels, and label each circuit breaker with its use. Completion Date: __________________________________________________

25. Is all electrical shop equipment and power tools properly grounded or double insulated? (Ensure that the grounding pin has not been removed, and that 3-pin to 2-pin adapters are not used.) Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Inspect all electrical connections for grounding plugs or wires. Check manufacturer specifications to ensure that power tools are double insulated if not grounded. Completion Date: __________________________________________________

26. Are extension cords and power strips in good condition (e.g., no breaks or exposed wiring), used only as temporary wiring (<30 days), and not connected in series? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Remove all extension cords connected in series, permanent use power strips, and permanent use extension cords. Contact Facilities Management 824-5444 to arrange for installation of permanent wiring if needed. Dispose of or repair all electrical cords that are not in good condition. Completion Date: __________________________________________________

27. Are electrical tools and appliances used in or near wet areas (such as sinks) protected with a GFCI (Ground Fault Circuit Interrupter)? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Install GFCI protection in/near wet areas. Use an in-line (plug attached) GFCI for locations where permanent GFCI outlets are unavailable. These are available at local hardware stores. Completion Date: __________________________________________________

PERSONAL PROTECTIVE EQUIPMENT

28. Have employees who work around inhalation hazards (e.g., chemical vapors, welding fumes, or dust) been monitored to determine whether they need to be enrolled in the respiratory protection program? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S 824-6200 to provide employee exposure assessments and determine the necessity for respiratory protection. Completion Date: __________________________________________________

29. Have employees who work in noisy areas been monitored to determine whether they need to be enrolled in the hearing conservation program? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S 824-6200 to provide employee noise monitoring and determine the necessity for hearing protection. Provide hearing protection to employees who request it. Visit http://www.ehs.uci.edu/programs/ih/hearingprog.html for additional information. Completion Date: __________________________________________________

30. Are employees provided with eye and face protection such as safety glasses and face shields where needed? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Provide and ensure the use of approved eye protection for all shop employee and visitors upon entry to shop work areas. Ensure that face protection is used when flying materials could cause injury to the face. Completion Date: __________________________________________________

HANDS TOOLS

31. Are all tools free of defects (such as cracked handles) that make them unsafe? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Remove defective tools from service. Completion Date: __________________________________________________

PORTABLE POWER-OPERATED TOOLS

32. Are rotating or moving parts of equipment or tools guarded (e.g., hand-held grinder wheel)? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that all guards are in place and used during tool operation. Completion Date: __________________________________________________

SHOP EQUIPMENT AND MACHINES

33. Is the campus lockout/tagout program in place to prevent accidental energizing of equipment, machines, or electrical systems that are being repaired, adjusted, or undergoing tool changes? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Institute a lockout/tagout (or equivalent) program. Visit http://www.ehs.uci.edu/programs/safety/locktagprog.html for details. Contact EH&S at 824-6200 for assistance if needed. Completion Date: __________________________________________________

34. Are abrasive wheel grinders equipped with a work rest adjusted to within 1/8 inch of the wheel, and side guards that cover the spindle, nut, flange and at least 75% of the wheel diameter? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit the use of wheel grinders until work rests and proper side guards are installed and/or properly adjusted. Completion Date: __________________________________________________

35. Are radial arm saws provided with a spreader and automatic return? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit the use of radial arm saws until spreaders and automatic returns are installed. Completion Date: __________________________________________________

36. Do table saws have a hand guard, spreader, and anti-kickback device for use when applicable? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit the use of table saws until anti-kickback devices are installed. Completion Date: __________________________________________________

37. Are all pieces of equipment and machinery provided with adequate guarding? (Rotating parts, nip points and v-belts must be guarded.) Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit the use of equipment and machinery until adequate guards are installed. Completion Date: __________________________________________________

38. Are pieces of equipment or machinery securely anchored to the floor or a bench? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure equipment or machinery that can move from its operation or vibration or the vibration of nearby equipment or machinery is securely anchored. Completion Date: __________________________________________________

39. Are forklift drivers certified and trained by EH&S? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit the use of forklifts by personnel who have not been certified as forklift operators by EH&S. Contact EH&S at 824-6200 for enrollment in campus forklift training. Completion Date: __________________________________________________

40. Are crane and hoist operators and riggers trained or otherwise qualified? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Prohibit the use of cranes, hoists and rigging for personnel who have not been trained/qualified. Contact EH&S at 824-6200 for information about crane/hoist training. Completion Date:__________________________________________________

41. Are documented daily (before use) inspections of forklifts, cranes, hoists and rigging kept on file? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Establish equipment inspection files to maintain required inspections for forklifts, cranes, hoists, and rigging. Completion Date: __________________________________________________

WELDING

42. Are welders provided with appropriate personal protective equipment (e.g., eye protection, gloves, flame resistant clothing or leathers)? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that welders are provided with and use the proper personal protective equipment. Visit http://www.ehs.uci.edu/programs/fire/hotworkprog.html for details or call EHS at 824-6200 for asssitance. Completion Date: __________________________________________________

43. Are welders provided with a fire extinguisher within ten feet of their working area? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Ensure that there is an A40BC fire extinguisher with a current inspection tag within 10 feet of welding work areas. Completion Date: __________________________________________________

44. Are all compressed gas cylinders adequately secured with non-combustible restraints to keep the cylinder(s) from falling during an earthquake? Also, are all compressed gas cylinders capped when not in use? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S at 824-6200 for advice on how to properly secure cylinders. Bench clamps may not be used for securing cylinders. Train shop personnel to cap compressed gas cylinders when not in use. Completion Date: __________________________________________________

HAZARDOUS MATERIALS

45. Are employees familiar with the contents of the Material Safety Data Sheets (MSDS) for each chemical they in the shop? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Facts about Material Safety Data Sheets are available at: http://www.ehs.uci.edu/msds.html. Completion Date: __________________________________________________

46. Are all containers of chemicals labeled with the contents and primary physical and health hazards? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Properly label all chemical containers, including stored and temporary containers. Completion Date: __________________________________________________

47. Are incompatible chemicals stored separately (e.g., acids separate from bases, oxidizers separate from flammables)? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Contact EH&S 642-3073 for assistance with chemical storage and segregation. Completion Date: __________________________________________________

48. Has the shop updated the chemical inventory to EH&S within the last 12 months or when amounts change more than 10%? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Update the shop chemical inventory in CiBR-Trac at http://ucirvine.ecompliance.net/. Completion Date: __________________________________________________

49. Is the Emergency Notification Information (ENI) door sign current? Yes (Satisfactory) No (Needs Correction) N/A (Not Applicable) Corrective Action: Update and post the updated ENI door sign at the shop entrance. Contact EHS at 824-6200 or visit http://www.ehs.uci.edu/programs/ih/Universalchp/UCIENIBForm8=2002.doc. Completion Date:__________________________________________________

Form adapted to UC Irvine from UC Berkeley's EH&S.  2005/CYH